დანართი №2

აღჭურვილობა

|  | A კატეგორიის გემი | B კატეგორიის გემი | C კატეგორიის გემი |
| --- | --- | --- | --- |
| 1. Resuscitation equipment |  |  |  |
| Manual resuscitation appliance | 1 | 1 | 0 |
| Appliance for the administration of oxygen with pressure-reducing valve such that ship's industrial oxygen can be used, or oxygen container | 1 | 1 | 0 |
| Mechanical aspirator to clear upper respiratory passages | 1 | 1 | 0 |
| Cannula for mouth-to-mouth resuscitation | 1 | 1 | 1 |
| 2. Dressing and suturing equipment |  |  |  |
| Disposable suture stapler or suture kit with needles | 2 | 1 | 0 |
| Adhesive elastic bandage | 2 | 1 | 1 |
| Gauze strips | 1 | 0 | 0 |
| Tubular gauze for finger bandages | 1 | 0 | 0 |
| Sterile gauze compresses | 2 | 2 | 1 |
| Cotton wool | 2 | 1 | 0 |
| Sterile sheet for burns victims | 2 | 2 | 1 |
| Triangular sling | 1 | 1 | 0 |
| Disposable polyethylene gloves | 2 | 1 | 1 |
| Adhesive dressings | 20 | 10 | 5 |
| Sterile compression bandages | 2 | 0 | 0 |
| Adhesive sutures or zinc oxide bandages | 5 | 4 | 4 |
| Non-absorbable sutures with needles | 2 | 0 | 0 |
| Vaseline gauze | 10 | 5 | 0 |
| 3. Instruments |  |  |  |
| Disposable scalpels | 2 | 0 | 0 |
| Stainless-steel instrument box | 1 | 1 | 0 |
| Scissors | 1 | 1 | 0 |
| Dissecting forceps | 1 | 1 | 0 |
| Haemostatic clamps | 2 | 1 | 0 |
| Needle forceps | 1 | 0 | 0 |
| Disposable razors | 2 | 0 | 0 |
| 4. Examination and monitoring equipment |  |  |  |
| Disposable tongue depressors | 4 | 2 | 0 |
| Reactive strips for urine analysis | 4 | 0 | 0 |
| Temperature charts | 2 | 0 | 0 |
| Medical evacuation sheets | 4 | 2 | 0 |
| Stethoscope | 1 | 1 | 0 |
| Aneroid sphygmomanometer | 1 | 1 | 0 |
| Standard medical thermometer | 1 |  | 0 |
| Hypothermic thermometer | 1 | 1 | 0 |
| 5. Equipment for injection, perfusion, puncture and catheterization |  |  |  |
| Bladder drainage instruments | 1 | 0 | 0 |
| Rectal drip set | 1 | 0 | 0 |
| Disposable filter infusor | 1 | 0 | 0 |
| Urine drainage bag | 1 | 0 | 0 |
| Disposable syringes and needles | 6 | 3 | 0 |
| Catheter | 1 | 0 | 0 |
| Pre-injection swabs with isopropyl alcohol bp | 20 | 10 | 0 |
| 6. General medical equipment |  |  |  |
| Bedpan | 1 | 0 | 0 |
| Hot-water bottle | 1 | 0 | 0 |
| Urine bottle | 1 | 0 | 0 |
| Ice bag | 1 | 0 | 0 |
| 7. Immobilization and setting equipment |  |  |  |
| Malleable finger splint | 1 | 1 | 0 |
| Malleable forearm and hand splint | 1 | 1 | 0 |
| Inflatable splint | 1 | 1 | 0 |
| Thigh splint | 1 | 1 | 0 |
| Collar for neck immobilization | 1 | 1 | 0 |
| Thomas splint or dimple mattress | 1 | 0 | 0 |
| 8. Disinfection, disinsectization and prophylaxis |  |  |  |
| Water-disinfection compound | 1 | 0 | 0 |
| Liquid insecticide | 1 | 0 | 0 |
| Powder insecticide | 1 | 0 | 0 |